## 2010 - 2015
2015 MLC Clearwater - Water Testing Results - cfu/100mL
Aqua-Tech Laboratory Mountaintop, PA
Site | May | Jun | Jun | Jun | Jun | Jun | 2015-07-08 | 2015-07-13 | 2015-07-14 | 2015-07-29 | Aug | Aug | Aug | 2015-09-15
Beach House fecal | [6 empty] | 6 | 5
Beach House E. coli | [6 empty] | 8
Pitoniak | [13 empty] | 0
Dorsey | [13 empty] | 3
Outlet | [8 empty] | 9 |  |  |  |  | 0
Kotaletti's | [13 empty] | 2
Moran | [13 empty] | 0
Shanley | [13 empty] | 5
East Shore
Commons 2nd lot from Hennemuth | [8 empty] | 0
Malloy/ Mariotti | [8 empty] | 1 |  |  |  |  | 3
Beardell | [13 empty] | 3
Outside stone fireplace [Reid] | [13 empty] | 1
Leftkowski | [8 empty] | 5 |  |  |  |  | 5
Gazebo at Maple Commons | [13 empty] | 3
La Strange Lot | [13 empty] | 1
Kearney | [13 empty] | 1
Hennemuth | [8 empty] | 1 |  |  |  |  | 1
Commons [McGraw] | [13 empty] | 2
Red Brick [Foley] | [13 empty] | 0
Sunset side
LeStrange | [8 empty] | 0
Patoniak | [8 empty] | 10 | 7
Miller/Boland | [8 empty] | 0
Tucker Dempsey | [8 empty] | 22 | 3 |  |  |  | 3
PJ Dempsey | [8 empty] | 0
Pat Dempsey | [8 empty] | 2
New Contruction next to Gilboy | [8 empty] | 4 |  |  |  |  | 4
Frank Kane/Hill | [8 empty] | 3
Point | [8 empty] | 1
land bridge / weir | [8 empty] | 0
West Shore
Lilik | [8 empty] | 0
Meade | [8 empty] | 1 |  |  |  |  | 0
Dock opposite Point | [8 empty] | 4
Telli | [13 empty] | 10
Luciani | [8 empty] | 4 |  |  |  |  | 19
Giavgnoli | [13 empty] | 2
Cowley Commons | [13 empty] | 1
Inlet [near Kasandra] | [8 empty] | 17 | 4 |  |  |  | 3
Krisanda Commons | [13 empty] | 6
Wastella | [13 empty] | 4
Little Lake
Blackledge | [6 empty] | 4
Autman/ Gunning | [6 empty] | 3 | [6 empty] | 4
Singer/Savage | [6 empty] | 0
Walker | [6 empty] | 2 | [6 empty] | 2
Mills / Ford/Coleman | [6 empty] | 0 | [6 empty] | 0
Outlet | [6 empty] | 3
Donaghey / Cawley | [6 empty] | 4 | [6 empty] | 1
Rt of PFdff | [6 empty] | 0
Zandarski/Commons | [6 empty] | 1 | [6 empty] | 1
Kennny | [6 empty] | 3 | [6 empty] | 5
2014 MLC Beach House Bacteria Results cfu/100mL
Not Available
2013 MLC Clearwater - Water Testing Results - cfu/100mL
Aquatech Mountain Top PA
Site | May | Jun | Jun | 2013-06-21 | 2013-06-26 | 2013-07-02 | 2013-07-10 | 2013-07-19 | 2013-07-24 | 2013-07-31 | 2013-08-08 | Aug | 2013-08-22 | 2013-08-27
Beach House fecal |  |  |  | 29 | 17 | 12 | 7 | 8 | 9 | 11 | 12 |  | 11 | 10
Beach House E. coli |  |  |  | 10 | 8 | 10 | 4 | 6 | 8 | 7 | 9 |  | 6 | 7
Old Lake
Shanley |  |  |  | 2013-07-10: 0
Outlet |  |  |  | 2013-07-10: 3
East Shore
Swift |  |  |  | 2013-07-10: 4
Byrne |  |  |  | 2013-07-10: 8; 2013-07-31: 7
Kane |  |  |  | 2013-07-31: 9
Oak -Maple commons |  |  |  | 2013-07-10: 2; 2013-07-31: 6
Kearney |  |  |  | 2013-07-31: 3
Gore | bar: 2013-07-31
Dorsey |  |  |  | 2013-07-31: 3
Kreis |  |  |  | 2013-07-10: 4
Mariotti |  |  |  | 2013-07-10: 2; 2013-07-31: 8
Sunset side
McDonald |  |  |  | 2013-07-10: 9
P.J. Dempsey |  |  |  | 2013-07-10: 6
Hill | bar: 2013-07-10
Point |  |  |  | 2013-07-10: 8; 2013-07-31: 0
West Shore
Tellie - Wastella |  |  |  | 2013-07-10: 6; 2013-07-31: 4
W. commons - Inlet |  |  |  | 2013-07-10: 0; 2013-07-31: 2
Ford |  |  |  | 2013-07-10: 10
LL Walker - Coleman |  |  |  | 2013-07-10: 13 | 9
LL Blackledge LL |  |  |  | 2013-07-10: 8
LL Outlet LL |  |  |  | 2013-07-10: 10; 2013-07-24: 10 | 4
LLGunning - Zandarski |  |  |  | 2013-07-10: 6 |  |  | 3
LL Kenny- Hetkewski |  |  |  | 2013-07-10: 6 |  |  | 13
LL Pullman - Picharella |  |  |  | 2013-07-24: 8 | 8
LL Paff LL |  |  |  | 2013-07-24: 6 |  |  | 6
2012 MLC Clearwater - Water Testing Results - cfu/100mL
Aquatech Mountain Top PA
Site | May | 2012-06-06 | 2012-06-13 | 2012-06-19 | 2012-06-27 | 2012-07-06 | 2012-07-12 | 2012-07-20 | 2012-07-25 | 2012-07-31 | 2012-08-03 | 2012-08-10 | 2012-08-15 | 2012-08-30
Beach House fecal |  | 5 | 14 | 4 | 8 | 12 | 19 | 13 | 20 | 19 | 2.7
Beach House E. coli |  |  | 26 | 19 | 10 | 24 | 15 | 12 | 14 | 10 |  | 9 | 5 | 13
Old Lake
Outlet |  | 2012-07-12: 9
East Shore
Byrne |  | 2012-07-12: 10
Oak - Maple commons |  | 2012-07-12: 10
Kane-Swift |  | 2012-06-27: 13; 2012-07-12: 2
Inlet |  | 2012-06-27: 6
East Shore
W. commons - Inlet |  | 2012-07-12: 8
Meade |  | 2012-06-27: 4; 2012-07-12: 0
Gore |  | 2012-06-27: 5; 2012-07-12: 7
Beardell |  | 2012-06-27: 5
Dorsey |  | 2012-07-12: 11
Sunset side
P.J. Dempsey |  | 2012-06-27: 9; 2012-07-12: 5
Tulake commons |  | 2012-06-27: 12; 2012-07-12: 6
Point |  | 2012-07-12: 3
LL Walker - Coleman |  | 2012-06-19: 6; 2012-07-12: 10
LL Outlet LL |  | 2012-06-19: 9; 2012-07-12: 4
LLGunning - Zandarski |  | 2012-06-19: 4
LL Kenny- Swietnicki |  | 2012-06-19: 8; 2012-07-12: 18
LL Pullman - Picharella |  | 2012-07-12: 16
LL McAllister |  | 2012-07-12: 11
2011 MLC Clearwater - Water Testing Results - cfu/100mL | [14 empty] | PH
Aquatech Mountain Top PA
Site | May | Jun | Jun | Jun | 2011-06-26 | 2011-06-27 | 2011-07-08 | 2011-07-22 | Jul | Jul | 2011-08-03 | 2011-08-09 | 2011-08-22 | Aug | 2011-08-03
Beach House Fecal |  | 2012-06-27: 16; 2012-07-06: 15; 2012-07-12: 14; 2012-07-20: 6; 2012-08-03: 5.9; 2012-08-10: 8 | 6.9
Beach House - E. coli |  | 2012-06-27: 10; 2012-07-06: 14; 2012-07-12: 24; 2012-07-20: 39; 2012-08-10: 36; 2012-08-15: 32
Old Lake
Shanley - Blake |  | 2012-07-20: 10
East Shore
Outlet |  | 2012-07-12: 6; 2012-08-10: 5
Malloy construction |  | 2012-07-12: 10
Byrne - Kearney |  | 2012-07-12: 14; 2012-07-20: 10; 2012-08-10: 11
Oak - Maple commons |  | 2012-07-12: 10
Kane-Swift
Inlet |  | 2012-07-12: 5; 2012-07-20: 8; 2012-08-10: 12
West Shore
W. commons - Inlet |  | 2012-07-12: 8
Luciani / drainage |  | 2012-07-12: 9; 2012-08-10: 3
Meade - Brier |  | 2012-08-10: 7
Mancuso |  | 2012-08-10: 14
Gore |  | 2012-07-12: 7
Skerda |  | 2012-08-10: 8
Dorsey
Sunset side
P.J. Dempsey |  | 2012-07-12: 5
Tulake commons |  | 2012-07-12: 6
Point |  | 2012-07-12: 15
LL Clark Commons |  | 2012-07-12: 8
LL Walker - Coleman |  | 2012-07-12: 7; 2012-08-10: 7
LL Outlet LL |  | 2012-07-12: 6; 2012-08-10: 20
LL Miles - Ford |  | 2012-07-20: 16
LL Zandarski |  | 2012-07-20: 5; 2012-08-10: 14
LLGunning |  | 2012-07-20: 17
LL savage - singer |  | 2012-07-20: 9
LL Kenny- Picharella |  | 2012-07-12: 13; 2012-08-10: 7
LL Pullman
LL McAllister
2010 MLC Clearwater - Water Testing Results - cfu/100mL
Aquatech Mountain Top PA
Site | May | Jun | Jun | Jun | 2011-06-26 | 2011-06-27 | 2011-07-08 | 2010-07-15 | Jul | Jul | 2011-08-03 | 2010-08-19 | 2010-08-25 | 2011-09-02
Beach House Fecal
Beach House - E. coli |  | 2012-08-10: 21; 2012-08-15: 26; 2012-08-30: 22
Old Lake
Shanley - Blake |  | 2012-07-20: 10
East Shore
Outlet |  | 2012-07-12: 6; 2012-08-10: 5
Malloy construction |  | 2012-07-12: 10
Byrne - Kearney |  | 2012-07-12: 14; 2012-07-20: 10; 2012-08-10: 11
Oak - Maple Commons |  | 2012-07-12: 10
Kane-Swift
Inlet |  | 2012-07-12: 5; 2012-07-20: 8; 2012-08-10: 12
West Shore
W. commons - Inlet |  | 2012-07-12: 8
Luciani / drainage |  | 2012-07-12: 9; 2012-08-10: 3
Meade - Brier |  | 2012-08-10: 7
Mancuso |  | 2012-08-10: 14
Gore |  | 2012-07-12: 7
Skerda |  | 2012-08-10: 8
Sunset side
P.J. Dempsey |  | 2012-07-12: 5
Tulake commons |  | 2012-07-12: 6
Point |  | 2012-07-12: 15
LL Clark Commons |  | 2012-07-12: 8
LL Walker - Coleman |  | 2012-07-12: 7; 2012-08-10: 7
LL Outlet LL |  | 2012-07-12: 6; 2012-08-10: 20
LL Miles - Ford |  | 2012-07-20: 16
LL Zandarski |  | 2012-07-20: 5; 2012-08-10: 14
LLGunning |  | 2012-07-20: 17
LL savage - singer |  | 2012-07-20: 9
LL Kenny- Picharella |  | 2012-07-12: 13; 2012-08-10: 7
When the number of Enterococci exceeds 104/100 ml, there may be other microorganisms present in th ewater which could cause illness, such as gastoenteritis or ear infections. It is generally recommended by the U.S. Environmental Protection Agency not to swim in water containing enterococci counts that have an average value exceeding 35/100 ml or a single sample result of more than 104/100. Thus counts that exceed 104/100 ml are highlighted in red.
Link to EPA.GOV article about E. coli and enteroccocci
EPA.GOV e.coli site link
Escherichia coli | 2012 | 2012-06-06: Limit 245

## 2016 - 2018
2018 MLC Clearwater - Water Testing Results - cfu/100mL
QuantumLabs Analytical & Environmental Laboratories, Inc. Scranton PA
Site | May | Jun | 2018-06-06 | 2018-06-11 | 2018-06-20 | 2018-06-27 | 2018-07-02 | 2018-07-11 | 2018-07-18 | 2018-07-24 | 2018-07-31 | 2018-08-07 | 2018-08-13 | 2018-08-20 | 2018-08-28
Beach House |  |  | 3 | 24.1 | 4.1 | 1 | 1 | 6.3 | 9.7 | 34.5 | 145.5 | <1 | 6.3 | 5.2 | 4.1
Escherichia coli
2017 MLC Clearwater - Water Testing Results - cfu/100mL
QuantumLabs Analytical & Environmental Laboratories, Inc. Scranton PA
Site | 2017-05-24 | 2017-06-01 | 2017-06-06 | 2017-06-13 | 2017-06-21 | 2017-06-28 | 2017-07-05 | 2017-07-10 | 2017-07-18 | 2017-07-24 | 2017-07-31 | 2017-08-07 | 2017-08-14 | 2017-08-22 | 2017-08-28
Beach House | 2 est | none | 33 | 1 est | Positive | 3 est | 3 est | 18 est | 4 est | 96 | none | 1 est | 3 est | <1 | <1
Escherichia coli
2016 MLC Clearwater - Water Testing Results - cfu/100mL
Hawk Mt Labs; Princeton Analytical Labs; QuantumLabs Analitical & Environmental Laboratories, Inc.
Site | 2016-05-26 | Jun | Jun | 2016-06-13 | 2016-06-20 | 2016-06-29 | 2016-07-05 | 2016-07-11 | 2016-07-20 | 2017-07-26 | 2016-08-01 | 2016-08-08 | Aug | 2016-08-23 | 2016-08-29
Beach House | 1 |  |  | <2 | <2 | 3 est | 2 est | none | 1 est | 23 est | 7 est | 7 est |  | 5 est | 1 est
Escherichia coli
When the number of E. coli/Enterococci exceeds 104/100 ml, there may be other microorganisms present in th ewater which could cause illness, such as gastoenteritis or ear infections. It is generally recommended by the U.S. Environmental Protection Agency not to swim in water containing enterococci counts that have an average value exceeding 35/100 ml or a single sample result of more than 104/100. Thus counts that exceed 104/100 ml are highlighted in red.
EPA.GOV e.coli site link
Escherichia coli | 2017-05-24: 2012; 2017-06-01: Limit 245
Current Limit recommended | 2017-06-01: <200
When the number of Enterococci exceeds 104/100 ml, there may be other microorganisms present in th ewater which could cause illness, such as gastoenteritis or ear infections. It is generally recommended by the U.S. Environmental Protection Agency not to swim in water containing enterococci counts that have an average value exceeding 35/100 ml or a single sample result of more than 104/100. Thus counts that exceed 104/100 ml are highlighted in red.
Link to EPA.GOV article about E. coli and enteroccocci
EPA.GOV e.coli site link
Escherichia coli | 2017-06-01: 2012; 2017-06-06: Limit 245
Note on A22: Burke, Ruth: From the web link provided. NOTE: limit of 104/100ml is highlighted in red

## 2019
2019 MLC Clearwater - Water Testing Results - cfu/100mL
Microbac Lab Scranton PA
Site | 2019-05-23 | 2019-06-07 | 2019-06-10 | 2019-06-17 | 2019-06-26 | 2019-07-03 | 2019-07-08 | 2019-07-15 | 2019-07-22 | 2019-07-25 | 2019-07-30 | 2019-08-05 | 2019-08-12 | 2019-08-19 | 2019-08-26 | 2019-09-06 | 2019-09-12
Beach House
Escherichia coli | 6.3 | <1 | <1 | 1 | <1 | 2 | 42.2 | 59.8 | 1119.9 | 18.5 | 3.1 | 14.8 | 5.2 | 9.7 | 1 | 2 | 13.4
Old Lake
85 Old Lake Road | 2019-07-25: 34.5
East Shore
[Reid] New Construction | 2019-07-25: 25.6
Pine Road commons | 2019-07-25: 85.7
57 East Shore New Construction | 2019-07-25: 36.8
65 East Shore McGraw | 2019-07-25: 21.1
87 East Shore dock | 2019-07-25: 135.4
West Shore
50 West Shore construction | 2019-07-25: 50.4
Sunset side
15 Woods | 2019-07-25: 30.1
Tulake and Woods | 2019-07-25: 11
End of Shore Point | 2019-07-25: 90.6
Little Lake
Little lake and Glen Road | 2019-07-25: 2
LL Dame Outlet | bar: 2019-07-25
When the number of E. coli/Enterococci exceeds 104/100 ml, there may be other microorganisms present in th ewater which could cause illness, such as gastoenteritis or ear infections. It is generally recommended by the U.S. Environmental Protection Agency not to swim in water containing enterococci counts that have an average value exceeding 35/100 ml or a single sample result of more than 104/100. Thus counts that exceed 104/100 ml are highlighted in red.
Link to EPA.GOV article about E. coli and enteroccocci
EPA.GOV e.coli site link
Escherichia coli | 2019-05-23: 2012; 2019-06-07: Limit 245
Current Limit recommended | 2019-06-07: <200
Note on A23: Burke, Ruth: From the web link provided. NOTE: limit of 104/100ml is highlighted in red