## 2010 - 2015
2015 MLC Clearwater - Water Testing Results - cfu/100mL
Aqua-Tech Laboratory Mountaintop, PA
Site | May | Jun | Jun | Jun | Jun | Jun | 2015-07-08 | 2015-07-13 | 2015-07-14 | 2015-07-29 | Aug | Aug | Aug | 2015-09-15
Beach House fecal | [6 empty] | 6 | 5
Beach House E. coli | [6 empty] | 8
Pitoniak | [13 empty] | 0
Dorsey | [13 empty] | 3
Outlet | [8 empty] | 9 |  |  |  |  | 0
Kotaletti's | [13 empty] | 2
Moran | [13 empty] | 0
Shanley | [13 empty] | 5
East Shore
Commons 2nd lot from Hennemuth | [8 empty] | 0
Malloy/ Mariotti | [8 empty] | 1 |  |  |  |  | 3
Beardell | [13 empty] | 3
Outside stone fireplace [Reid] | [13 empty] | 1
Leftkowski | [8 empty] | 5 |  |  |  |  | 5
Gazebo at Maple Commons | [13 empty] | 3
La Strange Lot | [13 empty] | 1
Kearney | [13 empty] | 1
Hennemuth | [8 empty] | 1 |  |  |  |  | 1
Commons [McGraw] | [13 empty] | 2
Red Brick [Foley] | [13 empty] | 0
Sunset side
LeStrange | [8 empty] | 0
Patoniak | [8 empty] | 10 | 7
Miller/Boland | [8 empty] | 0
Tucker Dempsey | [8 empty] | 22 | 3 |  |  |  | 3
PJ Dempsey | [8 empty] | 0
Pat Dempsey | [8 empty] | 2
New Contruction next to Gilboy | [8 empty] | 4 |  |  |  |  | 4
Frank Kane/Hill | [8 empty] | 3
Point | [8 empty] | 1
land bridge / weir | [8 empty] | 0
West Shore
Lilik | [8 empty] | 0
Meade | [8 empty] | 1 |  |  |  |  | 0
Dock opposite Point | [8 empty] | 4
Telli | [13 empty] | 10
Luciani | [8 empty] | 4 |  |  |  |  | 19
Giavgnoli | [13 empty] | 2
Cowley Commons | [13 empty] | 1
Inlet [near Kasandra] | [8 empty] | 17 | 4 |  |  |  | 3
Krisanda Commons | [13 empty] | 6
Wastella | [13 empty] | 4
Little Lake
Blackledge | [6 empty] | 4
Autman/ Gunning | [6 empty] | 3 | [6 empty] | 4
Singer/Savage | [6 empty] | 0
Walker | [6 empty] | 2 | [6 empty] | 2
Mills / Ford/Coleman | [6 empty] | 0 | [6 empty] | 0
Outlet | [6 empty] | 3
Donaghey / Cawley | [6 empty] | 4 | [6 empty] | 1
Rt of PFdff | [6 empty] | 0
Zandarski/Commons | [6 empty] | 1 | [6 empty] | 1
Kennny | [6 empty] | 3 | [6 empty] | 5
[7 empty] | Avg |  | Avg | Avg |  |  |  | Avg
[7 empty] | 2 |  | 4.2 | 4.6667 |  |  |  | 2.9688
2014 MLC Beach House Bacteria Results cfu/100mL
Not Available
2013 MLC Clearwater - Water Testing Results - cfu/100mL
Aquatech Mountain Top PA
Site | May | Jun | Jun | 2013-06-21 | 2013-06-26 | 2013-07-02 | 2013-07-10 | 2013-07-19 | 2013-07-24 | 2013-07-31 | 2013-08-08 | Aug | 2013-08-22 | 2013-08-27
Beach House fecal |  |  |  | 29 | 17 | 12 | 7 | 8 | 9 | 11 | 12 |  | 11 | 10
Beach House E. coli |  |  |  | 10 | 8 | 10 | 4 | 6 | 8 | 7 | 9 |  | 6 | 7
Old Lake
Shanley |  |  |  | 2013-07-10: 0
Outlet |  |  |  | 2013-07-10: 3
East Shore
Swift |  |  |  | 2013-07-10: 4
Byrne |  |  |  | 2013-07-10: 8; 2013-07-31: 7
Kane |  |  |  | 2013-07-31: 9
Oak -Maple commons |  |  |  | 2013-07-10: 2; 2013-07-31: 6
Kearney |  |  |  | 2013-07-31: 3
Gore | bar: 2013-07-31
Dorsey |  |  |  | 2013-07-31: 3
Kreis |  |  |  | 2013-07-10: 4
Mariotti |  |  |  | 2013-07-10: 2; 2013-07-31: 8
Sunset side
McDonald |  |  |  | 2013-07-10: 9
P.J. Dempsey |  |  |  | 2013-07-10: 6
Hill | bar: 2013-07-10
Point |  |  |  | 2013-07-10: 8; 2013-07-31: 0
West Shore
Tellie - Wastella |  |  |  | 2013-07-10: 6; 2013-07-31: 4
W. commons - Inlet |  |  |  | 2013-07-10: 0; 2013-07-31: 2
Ford |  |  |  | 2013-07-10: 10
LL Walker - Coleman |  |  |  | 2013-07-10: 13 | 9
LL Blackledge LL |  |  |  | 2013-07-10: 8
LL Outlet LL |  |  |  | 2013-07-10: 10; 2013-07-24: 10 | 4
LLGunning - Zandarski |  |  |  | 2013-07-10: 6 |  |  | 3
LL Kenny- Hetkewski |  |  |  | 2013-07-10: 6 |  |  | 13
LL Pullman - Picharella |  |  |  | 2013-07-24: 8 | 8
LL Paff LL |  |  |  | 2013-07-24: 6 |  |  | 6
|  |  |  | 2013-07-10: Avg; 2013-07-24: Avg; 2013-07-31: Avg | Avg |  | Avg
|  |  |  | 2013-07-10: 5.5789; 2013-07-24: 8; 2013-07-31: 4.3 | 7 |  | 7.3333
2012 MLC Clearwater - Water Testing Results - cfu/100mL
Aquatech Mountain Top PA
Site | May | 2012-06-06 | 2012-06-13 | 2012-06-19 | 2012-06-27 | 2012-07-06 | 2012-07-12 | 2012-07-20 | 2012-07-25 | 2012-07-31 | 2012-08-03 | 2012-08-10 | 2012-08-15 | 2012-08-30
Beach House fecal |  | 5 | 14 | 4 | 8 | 12 | 19 | 13 | 20 | 19 | 2.7
Beach House E. coli |  |  | 26 | 19 | 10 | 24 | 15 | 12 | 14 | 10 |  | 9 | 5 | 13
Old Lake
Outlet |  | 2012-07-12: 9
East Shore
Byrne |  | 2012-07-12: 10
Oak - Maple commons |  | 2012-07-12: 10
Kane-Swift |  | 2012-06-27: 13; 2012-07-12: 2
Inlet |  | 2012-06-27: 6
East Shore
W. commons - Inlet |  | 2012-07-12: 8
Meade |  | 2012-06-27: 4; 2012-07-12: 0
Gore |  | 2012-06-27: 5; 2012-07-12: 7
Beardell |  | 2012-06-27: 5
Dorsey |  | 2012-07-12: 11
Sunset side
P.J. Dempsey |  | 2012-06-27: 9; 2012-07-12: 5
Tulake commons |  | 2012-06-27: 12; 2012-07-12: 6
Point |  | 2012-07-12: 3
LL Walker - Coleman |  | 2012-06-19: 6; 2012-07-12: 10
LL Outlet LL |  | 2012-06-19: 9; 2012-07-12: 4
LLGunning - Zandarski |  | 2012-06-19: 4
LL Kenny- Swietnicki |  | 2012-06-19: 8; 2012-07-12: 18
LL Pullman - Picharella |  | 2012-07-12: 16
LL McAllister |  | 2012-07-12: 11
|  |  |  | Avg | Avg |  | Avg
|  |  |  | 6.75 | 7.7143 |  | 8.125
2011 MLC Clearwater - Water Testing Results - cfu/100mL | [14 empty] | PH
Aquatech Mountain Top PA
Site | May | Jun | Jun | Jun | 2011-06-26 | 2011-06-27 | 2011-07-08 | 2011-07-22 | Jul | Jul | 2011-08-03 | 2011-08-09 | 2011-08-22 | Aug | 2011-08-03
Beach House Fecal |  | 2012-06-27: 16; 2012-07-06: 15; 2012-07-12: 14; 2012-07-20: 6; 2012-08-03: 5.9; 2012-08-10: 8 | 6.9
Beach House - E. coli |  | 2012-06-27: 10; 2012-07-06: 14; 2012-07-12: 24; 2012-07-20: 39; 2012-08-10: 36; 2012-08-15: 32
2010 MLC Clearwater - Water Testing Results - cfu/100mL
Aquatech Mountain Top PA
Site | May | Jun | Jun | Jun | 2011-06-26 | 2011-06-27 | 2011-07-08 | 2010-07-15 | Jul | Jul | 2011-08-03 | 2010-08-19 | 2010-08-25 | 2011-09-02
Beach House Fecal
Beach House - E. coli |  | 2012-08-10: 21; 2012-08-15: 26; 2012-08-30: 22
Old Lake
Shanley - Blake |  | 2012-07-20: 10
East Shore
Outlet |  | 2012-07-12: 6; 2012-08-10: 5
Malloy construction |  | 2012-07-12: 10
Byrne - Kearney |  | 2012-07-12: 14; 2012-07-20: 10; 2012-08-10: 11
Oak - Maple Commons |  | 2012-07-12: 10
Kane-Swift
Inlet |  | 2012-07-12: 5; 2012-07-20: 8; 2012-08-10: 12
West Shore
W. commons - Inlet |  | 2012-07-12: 8
Luciani / drainage |  | 2012-07-12: 9; 2012-08-10: 3
Meade - Brier |  | 2012-08-10: 7
Mancuso |  | 2012-08-10: 14
Gore |  | 2012-07-12: 7
Skerda |  | 2012-08-10: 8
Sunset side
P.J. Dempsey |  | 2012-07-12: 5
Tulake commons |  | 2012-07-12: 6
Point |  | 2012-07-12: 15
LL Clark Commons |  | 2012-07-12: 8
LL Walker - Coleman |  | 2012-07-12: 7; 2012-08-10: 7
LL Outlet LL |  | 2012-07-12: 6; 2012-08-10: 20
LL Miles - Ford |  | 2012-07-20: 16
LL Zandarski |  | 2012-07-20: 5; 2012-08-10: 14
LLGunning |  | 2012-07-20: 17
LL savage - singer |  | 2012-07-20: 9
LL Kenny- Picharella |  | 2012-07-12: 13; 2012-08-10: 7
[7 empty] | avg | avg |  |  |  | avg
[7 empty] | 8.6 | 10.7143 |  |  |  | 9.8182
When the number of Enterococci exceeds 104/100 ml, there may be other microorganisms present in th ewater which could cause illness, such as gastoenteritis or ear infections. It is generally recommended by the U.S. Environmental Protection Agency not to swim in water containing enterococci counts that have an average value exceeding 35/100 ml or a single sample result of more than 104/100. Thus counts that exceed 104/100 ml are highlighted in red.
Link to EPA.GOV article about E. coli and enteroccocci
EPA.GOV e.coli site link
Escherichia coli | 2012 | 2012-06-06: Limit 245

## 2016 - 2018
2018 MLC Clearwater - Water Testing Results - cfu/100mL
QuantumLabs Analytical & Environmental Laboratories, Inc. Scranton PA
Site | May | Jun | 2018-06-06 | 2018-06-11 | 2018-06-20 | 2018-06-27 | 2018-07-02 | 2018-07-11 | 2018-07-18 | 2018-07-24 | 2018-07-31 | 2018-08-07 | 2018-08-13 | 2018-08-20 | 2018-08-28
Beach House |  |  | 3 | 24.1 | 4.1 | 1 | 1 | 6.3 | 9.7 | 34.5 | 145.5 | <1 | 6.3 | 5.2 | 4.1
Escherichia coli
2017 MLC Clearwater - Water Testing Results - cfu/100mL
QuantumLabs Analytical & Environmental Laboratories, Inc. Scranton PA
Site | 2017-05-24 | 2017-06-01 | 2017-06-06 | 2017-06-13 | 2017-06-21 | 2017-06-28 | 2017-07-05 | 2017-07-10 | 2017-07-18 | 2017-07-24 | 2017-07-31 | 2017-08-07 | 2017-08-14 | 2017-08-22 | 2017-08-28
Beach House | 2 est | none | 33 | 1 est | Positive | 3 est | 3 est | 18 est | 4 est | 96 | none | 1 est | 3 est | <1 | <1
Escherichia coli
2016 MLC Clearwater - Water Testing Results - cfu/100mL
Hawk Mt Labs; Princeton Analytical Labs; QuantumLabs Analitical & Environmental Laboratories, Inc.
Site | 2016-05-26 | Jun | Jun | 2016-06-13 | 2016-06-20 | 2016-06-29 | 2016-07-05 | 2016-07-11 | 2016-07-20 | 2017-07-26 | 2016-08-01 | 2016-08-08 | Aug | 2016-08-23 | 2016-08-29
Beach House | 1 |  |  | <2 | <2 | 3 est | 2 est | none | 1 est | 23 est | 7 est | 7 est |  | 5 est | 1 est
Escherichia coli
When the number of E. coli/Enterococci exceeds 104/100 ml, there may be other microorganisms present in th ewater which could cause illness, such as gastoenteritis or ear infections. It is generally recommended by the U.S. Environmental Protection Agency not to swim in water containing enterococci counts that have an average value exceeding 35/100 ml or a single sample result of more than 104/100. Thus counts that exceed 104/100 ml are highlighted in red.
EPA.GOV e.coli site link
Escherichia coli | 2017-05-24: 2012; 2017-06-01: Limit 245
Current Limit recommended | 2017-06-01: <200
When the number of Enterococci exceeds 104/100 ml, there may be other microorganisms present in th ewater which could cause illness, such as gastoenteritis or ear infections. It is generally recommended by the U.S. Environmental Protection Agency not to swim in water containing enterococci counts that have an average value exceeding 35/100 ml or a single sample result of more than 104/100. Thus counts that exceed 104/100 ml are highlighted in red.
Link to EPA.GOV article about E. coli and enteroccocci
EPA.GOV e.coli site link
Escherichia coli | 2017-06-01: 2012; 2017-06-06: Limit 245
Note on A22: Burke, Ruth: From the web link provided. NOTE: limit of 104/100ml is highlighted in red

## 2019
2019 MLC Clearwater - Water Testing Results - cfu/100mL
Microbac Lab Scranton PA
Site | 2019-05-23 | 2019-06-07 | 2019-06-10 | 2019-06-17 | 2019-06-26 | 2019-07-03 | 2019-07-08 | 2019-07-15 | 2019-07-22 | 2019-07-25 | 2019-07-30 | 2019-08-05 | 2019-08-12 | 2019-08-19 | 2019-08-26 | 2019-09-06 | 2019-09-12
Beach House
Escherichia coli | 6.3 | 1 | 1 | 1 | 1 | 2 | 42.2 | 59.8 | 1119.9 | 18.5 | 3.1 | 14.8 | 5.2 | 9.7 | 1 | 2 | 13.4
Old Lake
85 Old Lake Road | 2019-07-25: 34.5
East Shore
[Reid] New Construction | 2019-07-25: 25.6
Pine Road commons | 2019-07-25: 85.7
57 East Shore New Construction | 2019-07-25: 36.8
65 East Shore McGraw | 2019-07-25: 21.1
87 East Shore dock | 2019-07-25: 135.4
West Shore
50 West Shore construction | 2019-07-25: 50.4
Sunset side
15 Woods | 2019-07-25: 30.1
Tulake and Woods | 2019-07-25: 11
End of Shore Point | 2019-07-25: 90.6
Little Lake
Little lake and Glen Road | 2019-07-25: 2
LL Dame Outlet | bar: 2019-07-25
When the number of E. coli/Enterococci exceeds 104/100 ml, there may be other microorganisms present in th ewater which could cause illness, such as gastoenteritis or ear infections. It is generally recommended by the U.S. Environmental Protection Agency not to swim in water containing enterococci counts that have an average value exceeding 35/100 ml or a single sample result of more than 104/100. Thus counts that exceed 104/100 ml are highlighted in red.
Link to EPA.GOV article about E. coli and enteroccocci
EPA.GOV e.coli site link
Escherichia coli | 2019-05-23: 2012; 2019-06-07: Limit 245
Current Limit recommended | 2019-06-07: <200
[12 empty] | Season Average with out high reading |  | Season Average
Average | 2019-08-12: 11.375; 2019-08-19: 76.5824
Note on A23: Burke, Ruth: From the web link provided. NOTE: limit of 104/100ml is highlighted in red

## 2020
2020 MLC Clearwater - Water Testing Results - cfu/100mL
Microbac Lab Scranton PA
Site | 2023-05-20 | 2023-06-01 | 2023-06-08 | 2023-06-15 | 2023-06-22 | 2023-06-29 | 2023-07-02 | 2023-07-09 | 2023-07-15 | 2023-07-22 | 2023-07-27 | 2023-08-06 | 2023-08-13 | 2023-08-20 | 2023-08-25 | 2023-09-03
Beach House
Escherichia coli | 1 | 0 | 0 | 1 | 0 | 0 | 5.1 | 31.5 | 6.3 | 14.8 | 14.4 | 47.1 | 2 | 3.1 | 1 | 14.6
Season Average
Average | 2023-08-20: 11.825
When the number of E. coli/Enterococci exceeds 104/100 ml, there may be other microorganisms present in th ewater which could cause illness, such as gastoenteritis or ear infections. It is generally recommended by the U.S. Environmental Protection Agency not to swim in water containing enterococci counts that have an average value exceeding 35/100 ml or a single sample result of more than 104/100. Thus counts that exceed 104/100 ml are highlighted in red.
Link to EPA.GOV article about E. coli and enteroccocci
EPA.GOV e.coli site link
Escherichia coli | 2023-05-20: 2012; 2023-06-15: Limit 245
Current Limit recommended | 2023-06-15: <200

## 2021
2021 MLC Community Center - Recreational Waterfront Testing Results - cfu/100mL
Microbac Lab Scranton PA
Site | 2021-04-22 | 2021-05-07 | 2021-06-09 | 2020-06-15 | 2021-06-21 | 2021-06-30 | 2021-07-06 | 2021-07-12 | 2021-07-19 | 2021-08-03 | 2021-08-09 | 2021-08-16 | 2021-08-23 | 2021-08-27 | 2021-08-31 | 2021-09-09
Community Center Waterfront
Escherichia coli | <1 | 8.6 | 1 | 19.7 | 51.2 | 27.5 | 12.1 | 26.9 | 20.3 | 4.1 | 7.4 | 5.2 | 203.5 | 22.6 | 10 | na
Season Average
Average | [13 empty] | 30.0071
When the number of E. coli/Ensherichia coli exceeds 104/100 ml, there may be other microorganisms present in the water which could cause illness, such as gastroenteritis or ear infections. It is generally recommended by the U.S. Environmental Protection Agency not to swim in water containing enterococci counts that have an average value exceeding 35/100 ml or a single sample result of more than 104/100. Thus counts that exceed 104/100 ml are highlighted in red.
Link to EPA.GOV article about E. coli and enteroccocci
EPA.GOV e.coli site link
Escherichia coli |  |  |  | Limit 245
Current Limit recommended |  |  |  | <200
2021 MLC Community Center - Drinking Water Water Testing Results - cfu/100mL
Microbac Lab Scranton PA
Site | 2021-04-22 | 2021-05-07 | 2021-06-09 | 2021-07-01 | 2021-08-12
Clubhouse Drinking Water
Total Coliform | <1 | <1 | <1 | 1 | <1
Escherichia coli | <1 | <1 | <1 | <1 | <1
Old Lake

## 2022
2022 MLC Community Center - Recreational Waterfront Testing Results - cfu/100mL
Microbac Lab Scranton PA
Site | 2022-05-21 | 2022-06-09 | 2022-06-17 | 2022-06-22 | 2022-06-29 | 2022-07-07 | 2022-07-12 | 2022-07-18 | 2022-08-03 | 2022-08-12 | 2022-08-16 | 2022-08-23 | 2019-08-12 | 2019-08-19 | 2019-08-26 | 2019-09-06
Beach House
Escherichia coli | 1 | 45.5 | 14.6 | 7.5 | 10.9 | 47.1 | 16.9 | 41 | 5.2 | 1 | 1 | 61.3 | 0 | 0 | 0 | 0
[13 empty] | Average thru July | Season Average
Average | [12 empty] | 23.0625 | 21.0833
When the number of E. coli/Enterococci exceeds 104/100 ml, there may be other microorganisms present in th ewater which could cause illness, such as gastoenteritis or ear infections. It is generally recommended by the U.S. Environmental Protection Agency not to swim in water containing enterococci counts that have an average value exceeding 35/100 ml or a single sample result of more than 104/100. Thus counts that exceed 104/100 ml are highlighted in red.
Link to EPA.GOV article about E. coli and enteroccocci
EPA.GOV e.coli site link
Escherichia coli |  | Limit 245
Current Limit recommended |  | <200
2022 MLC Community Center - Drinking Water Water Testing Results - cfu/100mL
Microbac Lab Scranton PA
Site | 2022-05-03 | 2022-06-17 | 2022-07-05 | 2022-08-12
Clubhouse Drinking Water
Total Coliform | >1 | 34 | <1 | 0
Escherichia coli | <1 | <1 | <1 | 0
Old Lake
Old Lake
85 Old Lake Road
East Shore
[Reid] New Construction
Pine Road commons
57 East Shore New Construction
65 East Shore McGraw
87 East Shore dock
West Shore
50 West Shore construction
Sunset side
15 Woods
Tulake and Woods
End of Shore Point
Little Lake
Little lake and Glen Road
LL Dame Outlet
Note on A9: Burke, Ruth: From the web link provided. NOTE: limit of 104/100ml is highlighted in red

## 2023
2023 MLC Community Center - Recreational Waterfront Testing Results - cfu/100mL
Microbac Lab Scranton PA
Site | 2023-05-30 | 2023-06-08 | 2023-06-13 | 2023-06-22 | 2023-06-27 | 2023-07-05 | 2023-07-13 | 2023-07-18 | 2023-07-25 | 2023-08-01 | 2023-08-08 | 2023-08-09 | 2023-08-14 | 2023-08-16 | 2023-08-29 | 2023-09-06 | 2023-09-13
Beach House
Escherichia coli | 1 | 3 | 26.3 | 7.5 | 9.7 | 10.8 | 16 | 41 | 0 | 0 | 105 | 101.7 | 86.6 | 23.3 | 0 | 0 | 0
[13 empty] | Average thru July | Season Average
Average | 2023-08-14: 14.4125; 2023-08-16: 35.9917
Little Lake | 2023-08-16: 28.8
When the number of E. coli/Enterococci exceeds 104/100 ml, there may be other microorganisms present in the water which could cause illness, such as gastoenteritis or ear infections. It is generally recommended by the U.S. Environmental Protection Agency not to swim in water containing enterococci counts that have an average value exceeding 35/100 ml or a single sample result of more than 104/100. Thus counts that exceed 104/100 ml are highlighted in red.
Link to EPA.GOV article about E. coli and enteroccocci
EPA.GOV e.coli site link
Escherichia coli | 2023-06-08: Limit 245
Current Limit recommended | 2023-06-08: <200
2023 MLC Community Center - Drinking Water Water Testing Results - cfu/100mL
Microbac Lab Scranton PA
Site | 2023-05-30: 2023-05-05; 2023-06-08: 2023-06-08; 2023-06-13: 2023-07-05; 2023-06-22: 2023-08-08; 2023-06-27: 2023-09-08
Clubhouse Drinking Water
Total Coliform | 2023-05-30: 1; 2023-06-08: 0; 2023-06-13: <1; 2023-06-22: 0; 2023-06-27: 0
Escherichia coli | 2023-05-30: 0; 2023-06-08: 0; 2023-06-13: <1; 2023-06-22: 0; 2023-06-27: 0
Old Lake
Old Lake
85 Old Lake Road
East Shore
[Reid] New Construction
Pine Road commons
57 East Shore New Construction
65 East Shore McGraw
87 East Shore dock
West Shore
50 West Shore construction
Sunset side
15 Woods
Tulake and Woods
End of Shore Point
Little Lake
Little lake and Glen Road
LL Dame Outlet
Note on A10: Burke, Ruth: From the web link provided. NOTE: limit of 104/100ml is highlighted in red

## 2024
2024 MLC Water Testing Results - cfu/100mL
Microbac Lab Scranton PA
Location/Site | 2025-05-16 | 2025-05-24 | 2024-05-30 | 2024-06-04 | 2024-06-11 | 2024-06-18 | 2024-06-27 | 2024-07-02 | 2024-07-09 | 2024-07-16 | 2024-07-24 | 2024-07-31 | 2024-08-08 | 2024-08-13 | 2024-08-20 | 2024-08-27 | 2023-09-13
Big Lake Beach House
Escherichia coli | 9.8 | 9.8 | 28.1 | 7.5 | 2 | 2 | 30.5 | 59.1 | 23.1 | 85.7 | 20.1 | 34.1 | 8.5 | 47.1 | 14.5 | 4.1 | 0
Big Lake 2nd location
Escherichia coli | na | na | na | 3.1 | na | na | na | 27.5 | na | na | na | na | 41.4 | na | na | na | 0
Little Lake
Escherichia coli | 20.1 | na | na | 10.9 | na | na | na | 5.2 | na | na | na | na | na | na | na | na | 0
[12 empty] | Average thru 8/27 | AlternateAverage | LL Average
Average | [11 empty] | 24.125 | 24 | 12.0667
When the number of E. coli/Enterococci exceeds 104/100 ml, there may be other microorganisms present in the water which could cause illness, such as gastoenteritis or ear infections. It is generally recommended by the U.S. Environmental Protection Agency not to swim in water containing enterococci counts that have an average value exceeding 35/100 ml or a single sample result of more than 104/100. Thus counts that exceed 104/100 ml are highlighted in red.
Link to EPA.GOV article about E. coli and enteroccocci
EPA.GOV e.coli site link
Escherichia coli |  | Limit 245
Current Limit recommended |  | <200
2024 MLC Community Center - Drinking Water Testing Results - cfu/100mL
Microbac Lab Scranton PA
Site | 2024-05-16 | 2024-07-02 | 2024-08-08
Clubhouse Drinking Water
Total Coliform | 6.3 | 19.2 | <1
Escherichia coli | <1 | <1 | <1
Old Lake
Old Lake
85 Old Lake Road
East Shore
[Reid] New Construction
Pine Road commons
57 East Shore New Construction
65 East Shore McGraw
87 East Shore dock
West Shore
50 West Shore construction
Sunset side
15 Woods
Tulake and Woods
End of Shore Point
Little Lake
Little lake and Glen Road
LL Dame Outlet
Note on A13: Burke, Ruth: From the web link provided. NOTE: limit of 104/100ml is highlighted in red

## 2025
2025 MLC Water Testing Results - cfu/100mL
Microbac Lab Scranton PA
Location/Site | 2025-05-22 | 2025-05-29 | 2025-06-03 | 2025-06-10 | 2025-06-13 | 2025-06-17 | 2025-06-24 | 2025-07-02 | 2025-07-08 | 2025-07-10 | 2025-07-15 | 2025-08-05 | 2025-08-11 | 2025-08-19 | 2054-08-21 | 2025-08-26
Big Lake Beach House
Escherichia coli | 52.9 | 2 | 6.3 | 35 | na | 45 | 5.2 | 122.3 | 12.2 | na | 93.3 | 6.3 | 1 | 6.3 | 26.9 | 6.3
Big Lake 2nd location
Escherichia coli | 18.9 | na | na | na | 12.1 | na | na | na | na | 67 | na | na | na | na | 5.2 | na
Little Lake
Escherichia coli | 14.4 | na | na | na | 5.2 | na | na | na | na | 55.6 | na | na | na | na | 9.7 | na
[13 empty] | Big Lake Beach house | Big Lake 2nd location | Little Lake
[12 empty] | Average | 30.0714 | 25.8 | 21.225
When the number of E. coli/Enterococci exceeds 104/100 ml, there may be other microorganisms present in the water which could cause illness, such as gastoenteritis or ear infections. | [10 empty] | Link to EPA.GOV article about E. coli and enteroccocci
EPA.GOV e.coli site link
It is generally recommended by the U.S. Environmental Protection Agency not to swim in water containing enterococci counts that have an average value exceeding 35/100 ml or a single sample result of more than 104/100. Thus counts that exceed 104/100 ml are highlighted in red. | [10 empty] | Escherichia coli Current Limit recommended |  |  |  | Limit 245 <200
2025 MLC Community Center - Drinking Water Testing Results - cfu/100mL
Microbac Lab Scranton PA
Site |  | 2025-08-19 | 2025-08-21
Clubhouse Drinking Water
Total Coliform |  | Absent | <1
Escherichia coli |  | Absent | <1
Old Lake
Old Lake
85 Old Lake Road
East Shore
[Reid] New Construction
Pine Road commons
57 East Shore New Construction
65 East Shore McGraw
87 East Shore dock
West Shore
50 West Shore construction
Sunset side
15 Woods
Tulake and Woods
End of Shore Point
Little Lake
Little lake and Glen Road
LL Dame Outlet